## Sheet1
Name | Address | Quantity | DataType | FuncCode | ByteOrder | WordOrder | Scale | Offset | Unit
Battery Temperature | 200 | 1 | uint16 | 4 | big_endian | big_endian | 2 | 10 | degF
Battery Voltage | 101 | 1 | uint16 | 4 | big_endian | big_endian | 3 | 1 | V
Inlet Temperature | 201 | 1 | int16 | 4 | big_endian | big_endian | 1 | 10 | degF
Note on E1: 1: Read Coils 2: Read Discrete Inputs 3: Read Holding Registers 4: Read Input Registers