## Tabelle 1
2.Real-time data 0x0040～0x00FF Including: temperature, voltage, pressure, expansion valve opening degree and other data
Adresse | Abfrage | Wert Nummer | Verwendung | Address | Parameter Name | Range | Unit | Default | Type | Note
0x0040 | 1 | 0 | ja | 0x0040 | WP 1 - Compressor operating frequency | Measured Value | Hz | Measured Value | Read-Only
0x0041 | 1 | 1 | ja | 0x0041 | WP 1 - Fan operating frequency / rotational speed | Measured Value | RPM | Measured Value | Read-Only
0x0042 | 1 | 2 | ja | 0x0042 | WP 1 - Electronic expansion valve steps count | Measured Value |  | Measured Value | Read-Only
0x0043 | 1 | 3 | ja | 0x0043 | WP 1 - Number of EVI valve steps | Measured Value |  | Measured Value | Read-Only
0x0044 | 1 | 4 | ja | 0x0044 | WP 1 - AC Input Voltage | Measured Value | V | Measured Value | Read-Only
0x0045 | 1 | 5 | ja | 0x0045 | WP 1 - AC Input Current | Measured Value | A | Measured Value | Read-Only | Displ ay= Meas ured/10
0x0046 | 1 | 6 | ja | 0x0046 | WP 1 - Compressor Phase Current | Measured Value | A | Measured Value | Read-Only | Displ ay= Meas ured/10
0x0047 | 1 | 7 | ja | 0x0047 | WP 1 - Compressor IPM Temperature | Measured Value | °C | Measured Value | Read-Only
0x0048 | 1 | 8 | ja | 0x0048 | WP 1 - High pressure saturation temperature | Measured Value | °C | Measured Value | Read-Only
0x0049 | 1 | 9 | ja | 0x0049 | WP 1 - Low pressure saturation temperature | Measured Value | °C | Measured Value | Read-Only
0x004A | 1 | 10 | ja | 0x004A | WP 1 - External ambient temperature T1 | Measured Value | °C | Measured Value | Read-Only
0x004B | 1 | 11 | ja | 0x004B | WP 1 - External coil tube (fin) T2 | Measured Value | °C | Measured Value | Read-Only
0x004C | 1 | 12 | ja | 0x004C | WP 1 - Internal coil tube (plate replacement) T3 | Measured Value | °C | Measured Value | Read-Only
0x004D | 1 | 13 | ja | 0x004D | WP 1 - Return air temperature T4 | Measured Value | °C | Measured Value | Read-Only
0x004E | 1 | 14 | ja | 0x004E | WP 1 - Exhaust temperature T5 | Measured Value | °C | Measured Value | Read-Only
0x004F | 1 | 15 | ja | 0x004F | WP 1 - Return water temperature T6 | Measured Value | °C | Measured Value | Read-Only
0x0050 | 1 | 16 | ja | 0x0050 | WP 1 - Water outlet temperature T7 | Measured Value | °C | Measured Value | Read-Only
0x0051 | 1 | 17 | ja | 0x0051 | WP 1 - Economizer inlet tube T8 | Measured Value | °C | Measured Value | Read-Only
0x0052 | 1 | 18 | ja | 0x0052 | WP 1 - Economizer outlet tube T9 | Measured Value | °C | Measured Value | Read-Only
0x0053 | 1 | 19 | ja | 0x0053 | WP 1 - Current device tooling No. | Measured Value |  | Measured Value | Read-Only
0x0054 | 1 | 20 | ja | 0x0054 | WP 1 - Water tank temperature | Measured Value | °C | Measured Value | Read-Only
0x0055 | 1 | 21 | ja | 0x0055 | WP 1 - Fluorine outlet temperature of Plate Heat exchanger | Measured Value | °C | Measured Value | Read-Only
0x0056 | 1 | 22 | ja | 0x0056 | WP 1 - Drive manufacturer | Measured Value |  | Measured Value | Read-Only
0x0057 | 1 | 23 | ja | 0x0057 | WP 1 - Pump speed PWM | Measured Value |  | Measured Value | Read-Only
0x0058 | 1 | 24 | ja | 0x0058 | WP 1 - Water flow | Measured Value | l/min | Measured Value | Read-Only
0x0059 | 1 | 25 | ja | 0x0059 | WP 1 - User return water temperature | Measured Value | °C | Measured Value | Read-Only
0x005A | 1 | 26 | ja | 0x005A | WP 1 - Device input voltage | Measured Value | V | Measured Value | Read-Only
0x005B | 1 | 27 | ja | 0x005B | WP 1 - Device input current | Measured Value | A | Measured Value | Read-Only
0x005C | 1 | 28 | ja | 0x005C | WP 1 - Device input power/kw | Measured Value | kw | Measured Value | Read-Only
0x005D | 1 | 29 | ja | 0x005D | WP 1 - Total unit electricity consumption/kwh | Measured Value | kwh | Measured Value | Read-Only
0x005E | 1 | 30 | Nein | 0x005E | WP 2 Compressor running frequency | Measured Value | Hz | Measured Value | Read-Only
0x005F | 1 | 31 | Nein | 0x005F | WP 2 Fan running frequency/ speed | Measured Value | RPM | Measured Value | Read-Only
0x0060 | 1 | 32 | Nein | 0x0060 | WP 2 Electronic Expansion Valve Steps | Measured Value |  | Measured Value | Read-Only
0x0061 | 1 | 33 | Nein | 0x0061 | WP 2 EVI valve Steps | Measured Value |  | Measured Value | Read-Only
0x0062 | 1 | 34 | Nein | 0x0062 | WP 2 AC Input voltage | Measured Value | V | Measured Value | Read-Only
0x0063 | 1 | 35 | Nein | 0x0063 | WP 2 AC Input Current | Measured Value | A | Measured Value | Read-Only | Displ ay= Meas ured/10
0x0064 | 1 | 36 | Nein | 0x0064 | WP 2 Compressor Phase Current | Measured Value | A | Measured Value | Read-Only | Displ ay= Meas ured/10
0x0065 | 1 | 37 | Nein | 0x0065 | WP 2 Compressor IPM Temperature | Measured Value | °C | Measured Value | Read-Only
0x0066 | 1 | 38 | Nein | 0x0066 | WP 2 High pressure saturation temperature | Measured Value | °C | Measured Value | Read-Only
0x0067 | 1 | 39 | Nein | 0x0067 | WP 2 Low pressure saturation temperature | Measured Value | °C | Measured Value | Read-Only
0x0068 | 1 | 40 | Nein | 0x0068 | WP 2 Outer coil tube (fin) | Measured Value | °C | Measured Value | Read-Only
0x0069 | 1 | 41 | Nein | 0x0069 | WP 2 Inner coil Tube (Plate Heat Exchanger) | Measured Value | °C | Measured Value | Read-Only
0x006A | 1 | 42 | Nein | 0x006A | WP 2 Return air temperature | Measured Value | °C | Measured Value | Read-Only
0x006B | 1 | 43 | Nein | 0x006B | WP 2 Exhaust Air Temperature | Measured Value | °C | Measured Value | Read-Only
0x006C | 1 | 44 | Nein | 0x006C | WP 2 Economizer Inlet Temperature | Measured Value | °C | Measured Value | Read-Only
0x006D | 1 | 45 | Nein | 0x006D | WP 2 Economizer Outlet temperature | Measured Value | °C | Measured Value | Read-Only
0x006E | 1 | 46 | Nein | ...... | Unknown | Measured Value |  | Measured Value | Read-Only
0x006F | 1 | 47 | leer? | ......
0x0070 | 1 | 48 | leer? | ......
0x0071 | 1 | 49 | leer? | ......
0x0072 | 1 | 50 | ja | 0x0072 | Auxiliary Heating source Hot Water Temperature value | Measured Value | °C | Measured Value | Read Only
0x0073 | 1 | 51 | ja | 0x0073 | Auxiliary Heating source Heating Temperature value | Measured Value | °C | Measured Value | Read Only
0x0074 | 1 | 52 | ja | 0x0074 | Buffer Tank (for heating) Temperature Value | Measured Value | °C | Measured Value | Read Only
0x0075 | 1 | 53 | ja | 0x0075 | Total Water Outlet Temp. | Measured Value | °C | Measured Value | Read Only
0x0076 | 1 | 54 | Nein | 0x0076 | Unit B Phase Input Voltage | Measured Value |  | Measured Value | Read Only
0x0077 | 1 | 55 | Nein | 0x0077 | Unit B Phase Input Current | Measured Value |  | Measured Value | Read Only
0x0078 | 1 | 56 | Nein | 0x0078 | Unit C Phase Input Voltage | Measured Value |  | Measured Value | Read Only
0x0079 | 1 | 57 | Nein | 0x0079 | Unit C Phase Input Voltage | Measured Value |  | Measured Value | Read Only
0x007A | 1 | 58 | ja | 0x007A | Smart Grid Status | Measured Value |  | Measured Value | Read Only
0x007B | 1 | 59 | ja | 0x007B | Zone 2 Mixing Valve Opening | Measured Value |  | Measured Value | Read Only
0x007C | 1 | 60 | ja | 0x007C | Zone 1 Mixing Temp. | Measured Value |  | Measured Value | Read Only
0x007D | 1 | 61 | ja | 0x007D | Zone 1 Mixing Valve Opening | Measured Value |  | Measured Value | Read-Only
0x007E | 1 | 62 | leer? | leer?
0x007F | 1 | 63 | leer? | leer?
0x0080 | 1 | 64 | leer? | leer?
0x0081 | 1 | 65 | leer? | leer?
0x0082 | 1 | 66 | leer? | leer?
0x0083 | 1 | 67 | leer? | leer?
0x0084 | 1 | 68 | leer? | leer?
0x0085 | 1 | 69 | leer? | leer?
0x0086 | 1 | 70 | leer? | leer?
0x0087 | 1 | 71 | leer? | leer?
0x0088 | 1 | 72 | leer? | leer?
0x0089 | 1 | 73 | leer? | leer?
0x008A | 1 | 74 | leer? | leer?
0x008B | 1 | 75 | leer? | leer?
0x008C | 1 | 76 | leer? | leer?
0x008D | 1 | 77 | leer? | leer?
0x008E | 1 | 78 | leer? | leer?
0x008F | 1 | 79 | leer? | leer?
0x0090 | 1 | 80 | leer? | leer?
0x0091 | 1 | 81 | leer? | leer?
0x0092 | 1 | 82 | leer? | leer?
0x0093 | 1 | 83 | leer? | leer?
0x0094 | 1 | 84 | leer? | leer?
0x0095 | 1 | 85 | leer? | leer?
0x0096 | 1 | 86 | leer? | leer?
0x0097 | 1 | 87 | leer? | leer?
0x0098 | 1 | 88 | leer? | leer?
0x0099 | 1 | 89 | leer? | leer?
0x009A | 1 | 90 | leer? | leer?
0x009B | 1 | 91 | leer? | leer?
0x009C | 1 | 92 | leer? | leer?
0x009D | 1 | 93 | leer? | leer?
0x009E | 1 | 94 | leer? | leer?
0x009F | 1 | 95 | leer? | leer?
0x00A0 | 1 | 96 | leer? | leer?
0x00A1 | 1 | 97 | leer? | leer?
0x00A2 | 1 | 98 | leer? | leer?
0x00A3 | 1 | 99 | leer? | leer?
0x00A4 | 2 | 0 | leer? | leer?
0x00A5 | 2 | 1 | leer? | leer?
0x00A6 | 2 | 2 | leer? | leer?
0x00A7 | 2 | 3 | leer? | leer?
0x00A8 | 2 | 4 | leer? | leer?
0x00A9 | 2 | 5 | leer? | leer?
0x00AA | 2 | 6 | leer? | leer?
0x00AB | 2 | 7 | leer? | leer?
0x00AC | 2 | 8 | leer? | leer?
0x00AD | 2 | 9 | leer? | leer?
0x00AE | 2 | 10 | leer? | leer?
0x00AF | 2 | 11 | leer? | leer?
0x00B0 | 2 | 12 | leer? | leer?
0x00B1 | 2 | 13 | leer? | leer?
0x00B2 | 2 | 14 | leer? | leer?
0x00B3 | 2 | 15 | leer? | leer?
0x00B4 | 2 | 16 | leer? | leer?
0x00B5 | 2 | 17 | leer? | leer?
0x00B6 | 2 | 18 | leer? | leer?
0x00B7 | 2 | 19 | leer? | leer?
0x00B8 | 2 | 20 | leer? | leer?
0x00B9 | 2 | 21 | leer? | leer?
0x00BA | 2 | 22 | leer? | leer?
0x00BB | 2 | 23 | leer? | leer?
0x00BC | 2 | 24 | leer? | leer?
0x00BD | 2 | 25 | leer? | leer?
0x00BE | 2 | 26 | leer? | leer?
0x00BF | 2 | 27 | leer? | leer?
0x00C0 | 2 | 28 | leer? | leer?
0x00C1 | 2 | 29 | leer? | leer?
0x00C2 | 2 | 30 | leer? | leer?
0x00C3 | 2 | 31 | leer? | leer?
0x00C4 | 2 | 32 | leer? | leer?
0x00C5 | 2 | 33 | leer? | leer?
0x00C6 | 2 | 34 | leer? | leer?
0x00C7 | 2 | 35 | leer? | leer?
0x00C8 | 2 | 36 | leer? | leer?
0x00C9 | 2 | 37 | leer? | leer?
0x00CA | 2 | 38 | leer? | leer?
0x00CB | 2 | 39 | leer? | leer?
0x00CC | 2 | 40 | leer? | leer?
0x00CD | 2 | 41 | leer? | leer?
0x00CE | 2 | 42 | leer? | leer?
0x00CF | 2 | 43 | leer? | leer?
0x00D0 | 2 | 44 | leer? | leer?
0x00D1 | 2 | 45 | leer? | leer?
0x00D2 | 2 | 46 | leer? | leer?
0x00D3 | 2 | 47 | leer? | leer?
0x00D4 | 2 | 48 | leer? | leer?
0x00D5 | 2 | 49 | leer? | leer?
0x00D6 | 2 | 50 | leer? | leer?
0x00D7 | 2 | 51 | leer? | leer?
0x00D8 | 2 | 52 | leer? | leer?
0x00D9 | 2 | 53 | leer? | leer?
0x00DA | 2 | 54 | leer? | leer?
0x00DB | 2 | 55 | leer? | leer?
0x00DC | 2 | 56 | leer? | leer?
0x00DD | 2 | 57 | leer? | leer?
0x00DE | 2 | 58 | leer? | leer?
0x00DF | 2 | 59 | leer? | leer?
0x00E0 | 2 | 60 |  | ...... | Unknown | Measured Value |  | Measured Value | Read-Only
0x00E1 | 2 | 61 | leer? | leer?
0x00E2 | 2 | 62 | leer? | leer?
0x00E3 | 2 | 63 | leer? | leer?
0x00E4 | 2 | 64 | leer? | leer?
0x00E5 | 2 | 65 | leer? | leer?
0x00E6 | 2 | 66 | leer? | leer?
0x00E7 | 2 | 67 | leer? | leer?
0x00E8 | 2 | 68 | leer? | leer?
0x00E9 | 2 | 69 | leer? | leer?
0x00EA | 2 | 70 | leer? | leer?
0x00EB | 2 | 71 | leer? | leer?
0x00EC | 2 | 72 | leer? | leer?
0x00ED | 2 | 73 | leer? | leer? | 1
0x00EE | 2 | 74 | leer? | leer?
0x00EF | 2 | 75 | leer? | leer?
0x00F0 | 2 | 76 | Nein | 0x00F0 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F1 | 2 | 77 | Nein | 0x00F1 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F2 | 2 | 78 | Nein | 0x00F2 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F3 | 2 | 79 | Nein | 0x00F3 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F4 | 2 | 80 | Nein | 0x00F4 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F5 | 2 | 81 | Nein | 0x00F5 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F6 | 2 | 82 | Nein | 0x00F6 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F7 | 2 | 83 | Nein | 0x00F7 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F8 | 2 | 84 | Nein | 0x00F8 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00F9 | 2 | 85 | Nein | 0x00F9 | Unknown | Measured Value |  | Measured Value | Read-Only
0x00FA | 2 | 86 | Nein | 0x00FA | Set the upper limit of floor heating / heating temperature | Measured Value |  | Measured Value | Read-Only
0x00FB | 2 | 87 | Nein | 0x00FB | Set the lower limit of floor heating / heating temperature | Measured Value |  | Measured Value | Read-Only
0x00FC | 2 | 88 | Nein | 0x00FC | Set the upper limit of hot water temperature | Measured Value |  | Measured Value | Read-Only
0x00FD | 2 | 89 | Nein | 0x00FD | Set the lower limit of hot water temperature | Measured Value |  | Measured Value | Read-Only
0x00FE | 2 | 90 | Nein | 0x00FE | Set the upper limit of refrigerating temperature | Measured Value |  | Measured Value | Read-Only
0x00FF | 2 | 91 | Nein | 0x00FF | Set the lower limit of refrigerating temperature | Measured Value |  | Measured Value | Read-Only